# SECTION 6 SANITARY SEWER SERVICE

### ARTICLE I

PROCEDURES FOR APPLICATION FOR PURCHASE OF SANITARY SEWER TAP PERMITS

  - Sewer Service - General: No connection to a Southwest Suburban Denver Water and Sanitation District owned sewer main, shall be allowed prior to the purchase of a District tap permit and payment of appropriate Metro Wastewater Reclamation District fees.

  - Application: Applications for service must be filed with the District Manager and be accompanied by appropriate fees. Tap permits will not be issued prior to District preliminary acceptance of the sewer main to be tapped.

  - Fees: The sewer tap or connection fees shall be as shown on the District’s Fee Schedule. All fees may be changed without notice by the Board of Directors.

  - All properties requiring water and sewer shall pay the applicable fees charged by the Denver Board of Water Commissioners, Metro Waste Water Reclamation District and Southwest Suburban Denver Water and Sanitation District.

  - Cancellation of Application and Refund of Fees: The District reserves the right to revoke any application previously granted before service has been provided.

  - Application for Sewer Service: All sewer taps must be purchased at the same time as water taps are purchased from Denver Water.

  - Denial of Application: The District reserves the right to deny application for service for any reason, including but not limited to:

    - Connection of the system to applicant's existing plumbing would constitute a cross-connection to and unsafe water supply; or

    - The service applied for would create an excessive seasonal or other demand upon the facilities.

    - Failure to comply with the District's Rules and Regulations.

ARTICLE II

CONSTRUCTION PROCEDURES AND GENERAL REQUIREMENTS

  - All cost and expense incidental to the installation and connection of the water or sewer service shall be borne by the landowner, subdivider or developer. The landowner, subdivider or developer shall indemnify the Board for any loss or damage that may directly or indirectly be occasioned by the installation of the water or sewer service. No work shall be done by the District on Saturdays, Sundays or holidays unless written permission is granted by the District Manager.

  - The inspection fee for sewer main connections shall be as provided on the District’s Fee Schedule. All permits, fees and licenses shall be paid for by the contractor, plumber or others doing work in the District prior to the start of construction. No work shall start until the District Engineer’s office has been notified.

  - The District Engineer will inspect all sewer taps including stub-ins to the District's sewer mains during construction. The District Engineer requires a minimum of two working days' notice for inspections. Inspection should in no way be considered a guarantee of the contractor's work.

  - The sewer service line shall be PVC pipe with push on joints or any other material approved by the Board of Directors, subject to the limitations of the Uniform Plumbing Code requirements. The line shall be watertight and on a constant grade in a straight line, and not closer than five horizontal feet from any bearing wall.

  - Sewer service lines shall be installed in a separate trench, maintaining a ten-foot horizontal separation from the water service line. All sewer service installation shall be in accordance with the specifications of Southwest Suburban Denver Water and Sanitation District, Uniform Plumbing Code, Metro Waste-Water Reclamation District and Jefferson County Building Department.

  - No sewer tap connection shall be backfilled until construction has been inspected and accepted by the District Engineer. The contractor shall be responsible for maintaining safe conditions until such time as all inspections have been completed and the work accepted by the District.

  - No connections shall be made to any sewer line of the District, nor shall any service line laterals or extensions be laid or installed except by or under the supervision of a contractor licensed by the District. Prior to making any connection to the sewer system of the District, installing any sewer lines contemplated to be connected to the District system, or repairing of any sewer service within ten (10) feet of the connection to the District’s sewer main, which are connected to the District main, the contractor must make application for a “Contractor’s License”, which application form will be furnished by the District and approved by the District Engineer. A licensed contractor must have at least three (3) years of experience in sewer construction. Before a license can be issued, applicant shall furnish to the District in form and in substance, certificates and copies of insurance coverage that meets the requirements of 6.209. The work on sewer service lines shall be done by approved contractors under the District's supervision, but plumbing work contracted for by an approved

plumbing contractor may be performed by the plumbing contractor through journeyman plumbers or apprentices under their direct supervision and shall meet the Colorado State Department of Health's Technical Plumbing codes.

  - Revocation of Contractor’s License: The violation of any of these Rules and Regulations or the District installation specifications shall constitute sufficient grounds for revocation of the contractor's right to continue to work within the District. Whenever it appears a violation been committed, the contractor shall be sent written notice.

  - Liability insurance shall be carried by contractors licensed in the District in sufficient amounts to protect the District against any and all claims that may be occasioned by the work of the plumber or contractor. This insurance shall be written with a limit of liability of not less than $100,000 for all damages arising out of bodily injury, including death, at any time resulting therefrom, sustained by any one person and not less than $300,000 for all damages in any one accident and not less than

$500,000 for all damages arising out of the injury to, or destruction of property during the policy period. Worker's Compensation Insurance shall be carried in accordance with the provisions of the State of Colorado.

  - Upon approval of the District Engineer and upon receipt of the above insurance certificates, the contractor shall pay the license fee in accordance with the District’s current fee schedule and such license shall be effective for the calendar year of issuance, subject to its revocation. Said license may be renewed for additional periods of one (1) year each January 1st, upon payment of a renewal fee and the furnishing of the required insurance certificates. Failure to renew the license for three (3) consecutive years shall require a new application to be made.

  - All contractors, plumbers and others doing work on any sewer main, service lines or structures in the District shall comply with applicable District, Jefferson County, Denver or State Highway Department regulations on excavation, backfill, compaction and restoration of surfacing. All excavations required for the installation of sewer service shall be open trench work unless otherwise approved. Pipe laying and backfill shall be performed in accordance with the standard specifications adopted by the District.

  - All construction work and materials shall meet the standards and specifications of Southwest Suburban Denver Water & Sanitation District, Metro Wastewater Reclamation District, the Denver Board of Water Commissioners and the Technical Plumbing Code of the Colorado State Health Department. The District's specifications may be obtained at the office of the District Engineer. The District's specifications may be more strict than those of other regulatory agencies and shall govern in instances of conflict.

  - All construction of sewer facilities shall be adequately guarded with barricades and lights so as to protect the public from hazard. Street, sidewalks, parkways, and other public or private property disturbed in the course of the work shall be restored in a manner satisfactory to the District.

  - Sewer service shall be furnished only to persons whose property is included within the District's boundaries which are subject to the rules, regulations and taxation by the District or as other-wise provided by existing contract.

  - Sewer Services - Ownership and Maintenance:

    - Ownership - The sewer service line shall be owned by and installed at the expense of the tap permit purchaser.

    - Maintenance - The customer shall maintain all service pipe and appurtenances, including but not limited to grease traps between the structure being served and the District sewer main. In those cases where grease traps or other filtering processes are employed, the District reserves the right to periodically review maintenance and schedules in accordance with Section 6, Article VII of the District’s Rules & Regulations.

ARTICLE III

USE OF THE SEWER SYSTEM

  - No unauthorized person shall uncover, make any connection with or opening into, use, alter or disturb any District water or sewer main or appurtenances without first obtaining a written permit from the District.

  - The owner of the house, apartment or buildings of any nature shall be responsible for repair and upkeep of the sewer or water service lines from the meter or curb stop to the structure in cases of water service, and from the tap on the main to the structure in cases of sewer service.

  - Existing water or sewer service lines may be used in connection with new buildings only when found, on examination by the District Manager or District Engineer, to meet all the requirements of these Rules and Regulations.

  - A person owning land outside the boundaries of the District who desires service must include all of his land contiguous to the parcel upon which service is desired within the boundaries of the District, unless the Board determines otherwise

*9

  - Maintenance of the sewer service lines from the tap on the main to the unit shall be at the property

owner's expense and shall be the property owner's responsibility. Should the service line and/or tap

on the main need repair, the owner shall make such repairs within the time frame designated by the

District. Depending on the severity of the repair as determined at the discretion of the District,

which may include but not be limited to root intrusion, infiltration from cracks, offset joints or other

sources, the owner may be required to make the repairs within a minimum of four weeks, but in no

circumstance shall the repairs not be completed within ninety days of notification by the District.

Shall the repairs not be made within the timeframe designated by the District, the District will

proceed to make the repairs and bill the owner for the costs incurred.

  - Swimming Pools and Hot Tubs: No public or private swimming pool or hot tub shall be connected

to the sanitary sewer system. The District does not allow discharge from a swimming pool or a hot tub into its sanitary sewer system.

  - The District shall not allow any sub-drain, foundation or groundwater system including sump and

sump pumps to be installed within its sewer line trenches and will not allow any such drainage

systems to be connected to its sewer lines in any manner whatsoever, either directly of indirectly by

discharging into floor drains or other plumbing fixtures or by any other means.

  - Where the District has allowed sewer mains six (6) inches or larger to remain the private property of the property owner, such private systems shall be cleaned at least annually by the property owner and more frequently if conditions and use of the mains so dictate. Manholes on the private systems will be inspected as part of the maintenance program. Every three (3) years, these lines must be TV’d. Copies of all cleaning and TV reports must be sent to the District no later than January 31st of each year.

ARTICLE IV UNAUTHORIZED TAPS

6.401 Any contractor, developer, or other person who makes or causes to be made a tap on the mains of the District without first obtaining written permission from the District will be fined $500.00 per day until an Application for Sewer Tap Permit has been submitted and approved and all fees and fines have been paid.

ARTICLE V

SINGLE-FAMILY ATTACHED, CONDOMINIUMS AND TOWNHOUSES

6.501 Separate and independent sewer service lines, in conformance with the Jefferson County Building Code or Uniform Plumbing Code, shall be provided for every single-family living unit. Each condominium, townhouse or single-family family attached structure shall have an individual sewer service line and tap for each living unit in the said structure.

6.502 Except as specifically herein provided, all of the District's Rules and Regulations applicable to single family detached residences shall apply to condominiums, single family attached dwellings, and townhouses constructed in the District.

ARTICLE VI

APARTMENTS, COMMERCIAL AND INDUSTRIAL PROPERTIES

6.601	The number of service lines required to serve sewer for an apartment building will be as established by the District, Jefferson County Building code and Metro Wastewater.